## Slide 1
Deployment Details
Testing Organization and Site Information | 
Testing organization (Name, Organization Type, Contact website / phone number / email) | 
Testing location (City, State; Latitude & Longitude) | 
AQS site ID | 
Sampling timeframe (UTC) | 
Time Series Plots
Performance Metrics
Scatter Plots: Comparison to Reference Monitor
Meteorological Conditions During Deployment
Meteorological Influence
Sensor Information |  |  |  | 
Manufacturer, model |  |  |  | 
Device firmware version |  |  |  | 
Measurement recording interval |  |  |  | 
Sensor serial numbers |  |  |  | 
Issues encountered during deployment? |  | Brief synopsis of issues |  | 
Reference Monitor Information | 
Manufacturer, model | 
Measurement recording interval | 
Date of calibration | 
Date of flowrate verification | 
Description, date(s) of maintenance activities | 
1
For evaluations with greater than three sensors, grouping individual sensor metrics into boxplots is recommended for displaying results. Note that this recommendation does not apply to metrics computed as a single value for all sensors over the whole evaluation group, such as RMSE, NRMSE, CV, and standard deviation.
Sensor-Reference Accuracy
Sensor-Sensor Precision
Number of 24-hr periods outside manufacture-listed temperature target criteria | 
Number of 24-hr periods outside manufacture-listed relative humidity target criteria | 
Range of reference monitor concentrations over duration of base test (μg/m3) | 
Number 24-hr periods in reference measurements exceeding 25 μg/m3 | 
Number of paired, normalized concentration and temperature values | 
Number of paired, normalized concentration and relative humidity values | 

## Slide 2
 | Precision (between collocated sensors) |  |  |  | Data Quality |  |  | 
 | CV (%) |  | SD (μg/m3) |  | Uptime (%) |  | Number of concurrently reported sensor concentration values | 
 | 1-Hour ○ | 24-Hour ○ | 1-Hour ○ | 24-Hour ○ | 1-Hour ○ | 24-Hour ○ | 1-Hour | 24-Hour
Metric Target Range | ≤ 30 | ≤ 30 | ≤ 5 | ≤ 5 | 90%* | 90%* |  | 
Deployment Value |  |  |  |  |  |  |  | 
 | Bias and Linearity |  |  |  |  |  | Data Quality |  |  | 
 | R2 |  | Slope |  | Intercept (b) (μg/m3) |  | Uptime (%) |  | Number of paired sensor and reference concentration values | 
 | 1-Hour ○○○ | 24-Hour ○○○ | 1-Hour ○○○ | 24-Hour ○○○ | 1-Hour ○○○ | 24-Hour ○○○ | 1-Hour ○○○ | 24-Hour ○○○ | 1-Hour | 24-Hour
Metric Target Range | ≥ 0.70 | ≥ 0.70 | 1.0 ± 0.35 | 1.0 ± 0.35 | -5 ≤ b ≤ 5 | -5 ≤ b ≤ 5 | 90%* | 90%* |  | 
Sensor Serial #1 |  |  |  |  |  |  |  |  |  | 
Sensor Serial #2 |  |  |  |  |  |  |  |  |  | 
Sensor Serial #3 |  |  |  |  |  |  |  |  |  | 
Mean |  |  |  |  |  |  |  |  |  | 
Tabular Statistics
Sensor-Sensor Precision
 | Error |  |  | 
 | RMSE (μg/m3) |  | NRMSE (%) | 
 | 1-Hour ○ | 24-Hour ○ | 1-Hour ○ | 24-Hour ○
Metric Target Range | ≤ 7 | ≤ 7 | ≤ 30 | ≤ 30
Deployment Value |  |  |  | 
Individual Sensor-Reference Scatter Plots
Sensor-Reference Correlation
  Single-valued metrics (computed via entire evaluation dataset)
  ○ Indicates that the metric value is not within the target range
  ● Indicates that the metric value is within the target range
  Device-specific metrics (computed for each sensor in evaluation)
  ○○○ Metric value for none of devices tested falls within the target range
  ●○○ Metric value for one of devices tested falls within the target range
  ●●○ Metric value for two of devices tested falls within the target range
  ●●● Metric value for three of devices tested falls within the target range
*This value is only a recommendation for ensuring data quality and is not included in the list of target values discussed in Section 4 of the Performance Testing Protocols, Metrics, and Target Values for Fine Particulate Matter Air Sensors document.

## Slide 3
  Optionally, additional documentation may be attached or linked to digital versions alongside this report. Such documentation may include field reports and observations during the evaluation period, maintenance logs kept on sensors and reference instruments, standard operating procedures, and other documentation relevant to this evaluation report.
Supplemental Information
Supplemental Documentation | Attached | Description & URL or file path to documentation
Field Observations |  | 
Maintenance Logs |  | 
Standard Operating Procedure |  | 
Photos from Evaluation |  | 
Product Specifications Sheet |  | 
Product Manual |  | 
Deployment Issues |  | 
Data storage, transmission method narrative |  | 
Data correction method narrative |  | 
Air Monitoring Station QAPP |  | 
QC Results from FRM/FEM Reference Monitor |  | 
Other |  |