## Slide 1
1
Deployment Details
Time Series Plot: 1-hour Average O3
Scatter Plot: Comparison to Reference Monitor
Hourly Meteorological Conditions During Deployment
Hourly Meteorological Influence
Performance Metrics
For evaluations with greater than three sensors, grouping individual sensor metrics into boxplots is recommended for displaying results. Note that this recommendation does not apply to metrics computed as a single value for all sensors over the whole evaluation group, such as RMSE, NRMSE, CV, and standard deviation.
Sensor-Reference Accuracy
Sensor-Sensor Precision
Testing Organization and Site Information | 
Testing organization (Name, Organization Type, Contact website / phone number / email) | 
Testing location (City, State; Latitude & Longitude) | 
AQS site ID | 
Sampling timeframe (UTC) | 
Range of reference monitor concentrations over duration of base test (ppbv) | 
Number 1-hr periods in reference monitor measurements outside concentration value target criteria | 
Number of paired, normalized concentration and temperature values | 
Number of paired, normalized concentration and relative humidity values | 
Number of 24-hr periods outside temperature target criteria | 
Number of 24-hr periods outside relative humidity target criteria | 
Reference Monitor Information | 
Manufacturer, model | 
Measurement recording interval | 
Date of calibration | 
Date of one-point QC check | 
Description, date(s) of maintenance activities | 
Sensor Information |  |  |  | 
Manufacturer, model |  |  |  | 
Device firmware version |  |  |  | 
Measurement recording interval |  |  |  | 
Sensor serial numbers |  |  |  | 
Issues encountered during deployment? |  | Brief synopsis of issues |  | 

## Slide 2
 | Precision (between collocated sensors) |  | Data Quality | 
 | CV (%) | Standard Deviation (ppbv) | Uptime (%) | Number of concurrently reported sensor concentration values
 | 1-Hour ○ | 1-Hour ○ | 1-Hour ○ | 1-Hour
Metric Target Range | ≤ 30 | ≤ 5 | 75% | -
Deployment Value |  |  |  | 
 | Bias and Linearity |  |  | Data Quality | 
 | R2 | Slope | Intercept (ppbv) | Uptime (%) | Number of paired sensor and reference concentration values
 | 1-Hour ○○○ | 1-Hour ○○○ | 1-Hour ○○○ | 1-Hour ○○○ | 1-Hour
Metric Target Range | ≥ 0.80 | 1.0 ± 0.2 | ≤ ¦±5¦ | 75% | -
Sensor Serial #1 |  |  |  |  | 
Sensor Serial #2 |  |  |  |  | 
Sensor Serial #3 |  |  |  |  | 
Mean |  |  |  |  | 
Tabular Statistics
Sensor-Reference Correlation
Sensor-Sensor Precision
 | Error
 | RMSE (ppbv)
 | 1-Hour ○
Metric Target Range | ≤ 5
Deployment Value | 
Individual Sensor-Reference Scatter Plots for 1-hour Averaged O3
  Single-valued metrics (computed via entire evaluation dataset)
  ○ Indicates that the metric value is not within the target range
  ● Indicates that the metric value is within the target range
  Device-specific metrics (computed for each sensor in evaluation)
  ○○○ Indicates that the metric value for none of the devices tested falls within the target range
  ●○○ Indicates that the metric value for one of the devices tested falls within the target range
  ●●○ Indicates that the metric value for two of the devices tested falls within the target range
  ●●● Indicates that the metric value for three of the devices tested falls within the target range

## Slide 3
  Optionally, additional documentation may be attached or linked to digital versions alongside this report. Such documentation may include field reports and observations during the evaluation period, maintenance logs kept on sensors and reference instruments, standard operating procedures, and other documentation relevant to this evaluation report.
Supplemental Information
Supplemental Documentation | Attached | Description & URL or file path to documentation
Field Observations |  | 
Maintenance Logs |  | 
Standard Operating Procedure |  | 
Photos from Evaluation |  | 
Product Specifications Sheet |  | 
Product Manual |  | 
Deployment Issues |  | 
Data storage, transmission method narrative |  | 
Data correction method narrative |  | 
Air Monitoring Station QAPP |  | 
Other |  |